|  | STATE OF WISCONSIN Department of Safety and Professional Services Elevator Safety Program 141 NW Barstow Street, 4th Floor. Waukesha WI 53188 |  |
| --- | --- | --- |

# New (Acceptance) Commercial Inclined Platform Lift Inspection Checklist

# This completed checklist (meeting A17.1, 8.10.1.1.5) and applicable test reports are to be included with the acceptance test records required by A17.1, 8.6.1.4.1(d) and are to be permanently available and located as required by SPS 318.1708(2)(b) 4.

| Date: | Regulated Object ID no: | Project Description: |
| --- | --- | --- |
| Inspector Name: | WI license no: | Exp. Date: | (also QEI certified) |
| Elev. Contractor Name: |  |  | [Stat. 101.984(2), SPS 305.993-999] |
| Elevator or Lift Mech. Name: | WI license no: | Exp. Date: | [Stat. 101.984(1), SPS 305.9905] |
| Permit application form, approved plans and conditional approval letter visible upon arrival Application form, plans and conditional approval letter checked for unique conditions |  | [Stat. 101.983(1)(b) and (2)(d), and SPS 318.1008(4)] |
| Rated load (lbs) | Rated speed up (actual, fpm) | Rated / Oper speed down (actual, fpm) |

| SUBJECT | STATUS | CODE | SUBJECT | STATUS | CODE |
| --- | --- | --- | --- | --- | --- |
|  | P | F | NA |  |  | P | F | NA |  |
| Clearance platform to adjacent surfaces |  |  |  | A18.1, 3.1.2 | Normal and Final term. stopping devices |  |  |  | A18.1, 3.9 |
| Headroom while boarding |  |  |  | A18.1, 3.1.2.1 | UP/DN Controls at landings-cont. press, |  |  |  | A18.1, 3.10.1 |
| Headroom during travel |  |  |  | A18.1, 3.1.2.2 | Emergency stop switch on platform only |  |  |  | A18.1, 3.10.6 |
| Headroom during travel, if low – signage |  |  |  | A18,1, 3.1.2.3 | Winding drum or roller chain drives - slack rope/chain device |  |  |  | A18.1, 3.10.7 |
| Structural support |  |  |  | A18.1, 3.1.5 | Release and application of drive machine brake |  |  |  | A18.1, 3.10.8 |
| Electrical equipment listed by recognized 3rd party test lab |  |  |  | A18.1, 3.1.6 | Manual fold/move unless on standby pwr |  |  |  | A18.1, 3.10.10 |
| Platform not traveling off ends of guiderails |  |  |  | A18.1, 3.2.2 | Emergency signal |  |  |  | A18.1, 3.11 |
| Support by building structure, anchoring |  |  |  | A18.1, 3.2.3.2, 3.2.5 | Stand-by power or battery power |  |  |  | A18.1, 3.12 |
| Broken belt or chain monitoring |  |  |  | A18.1, 3.3.6.2 | Code data plate (No Sharpie) |  |  |  | A18.1, 3.13 |
| Driving machine brake or alternative |  |  |  | A18.1, 3.4 | Ramps must meet Bldg Code, not steeper than 1:8 for up to 3” rise |  |  |  | 318.1803(1)(b), A117,1, 405.2 |
| Traction Drive - Arc of contact not less than 140 degrees |  |  |  | A18.1, 3.5.3 | Ramps must meet Bldg Code, not steeper than 1:10 for up to 3” – 6” rise |  |  |  | 318.1803(1)(b), A117,1, 405.2 |
| Winding Drum Drive - One full turn of rope on drum |  |  |  | A18.1, 3.5.4 |  |  |  |  |  |
| Winding Drum Drive – Securing rope to drum |  |  |  | A18.1, 3.5.5 | Electrical working clearance at main disc. |  |  |  | NEC 110.26 |
| Fastening of suspension rope to platform |  |  |  | A18.1, 3.5.7 |  |  |  |  |  |
| Suspension means guarding |  |  |  | A18.1, 3.5.8 | Available egress width agreeing with approved plans. |  |  |  | 362.1009, SPS 318.1803(1) |
| Platform floor non-skid |  |  |  | A18.1, 3.6.1 |  |  |  |  |  |
| Enclosure type IPLs – enclosure strength |  |  |  | A18.1, 3.6.3 | Acceptance tests |
| Enclosure type IPLs – glass |  |  |  | A18.1, 3.6.6 | Safeties Type A, See DSPS test form |  |  |  | 10.4 |
| Enclosure type IPLs - platform guarding |  |  |  | A18.1, 3.6.8.1 | Platform level after safety setting |  |  |  | A18.1, 3.8.3 |
| Restraining arm type – guarding |  |  |  | A18.1, 3.6.8.2.1,.2 | Release of safety device |  |  |  | A18.1, 3.8.3.2 |
| Restraining arm type – ramp operation and forces |  |  |  | A18.1, 3.6.8.2.3 |  |  |  |  |  |
| Restraining arm type – arm operation and forces |  |  |  | A18.1, 3.6.8.2.4 | Capacity Plate, Data Plate and Signage |
| Obstruction devices |  |  |  | A18.1, 3.6.9 | Capacity and No Freight signage) |  |  |  | 318.1803(4) A18.1, 3.7.3, 5 |
| Folding seat and seat belt |  |  |  | A18.1, 3.6.10 | Code data plate (No Sharpie |  |  |  | 3.7.4 |
|  |  |  |  |  | Documentation |
|  |  |  |  |  | Green object ID no. tag applied by inspector |  |  |  |  |
|  |  |  |  |  | Accident reporting tag applied by inspector |  |  |  |  |
|  |  |  |  |  | Operation and maintenance instructions |  |  |  | A18.1, 11 |
|  |  |  |  |  | Maintenance control program |  |  |  | A18.1, 11.1 |