| DIVISION OF INDUSTRY SERVICES 141 NW BARSTOW ST FL 4TH WAUKESHA WI 53188-3789 Contact Through Relay http://dsps.wi.gov/programs/industry-services www.wisconsin.gov | Completed test form to be left in Maintenance Log Send a copy to the agency responsible for the annual inspection only if these tests are overdue Do not send to DSPS for review unless requested |  |
| --- | --- | --- |

# Safety Device and Governor Test Report

# Elevator, Platform Lift and Stairway Chairlift - Acceptance and Category 5

# Dumbwaiter and Type B Material Lift - Acceptance

(For remainder of Cat 5 tests for A17.1 conveyances, see form SBD 10872 / Cat 5E)

Please type or print clearly.  Illegible and incomplete forms will not be accepted.

Personal information you provide may be used for secondary purposes [Privacy Law s. 15.04(1)(m), stats.]

| Conveyance Information |
| --- |
| Building Name: | Conveyance No.: |
| Building Address: | Reg. Object ID or eSLA Permit No.: |
| Type | Pass | Frt | Comm. Inclined | LULA | Part V or Priv Res in a Comm. bldg. | Special Purp (SPPE) | Side walk | Stage/ Orch | DW | Type B Mat'l Lft | VPL | IPL | SCL |
| Drive Type | Electric Traction | Hydraulic | Rack & Pinion | Screw | Hand |
|  | Overhead | Machine room-less | Basement | Winding drum | Direct In Ground | Direct Hole –less | Roped | Chained |  |  |  |
| Rated load (lbs): | Rated speed (up, fpm): | Rated or operating speed (down, fpm): | Leveling speed (fpm): |
| Date of Test: | PTO Year: Test results can be used to satisfy either an overdue or future PTO but not both. See SPS 318.17086 (14) |

Acceptance Tests:  See A17.1, 8.10.2.2.2(hh) & (ii) for Traction elevators, 8.10.3.2.3(u) for Hydraulic elevators and 8.10.5 for Rack & Pinion, Screw and Hand powered elevators and Special Application elevators.  See 8.6.10.1.1 for Dumbwaiters and 8.6.10.2.1 for Type B Material Lifts.  See A18.1, 10.1.3 for Vertical and Inclined Platform Lifts and Stairway Chairlifts.

Category 5 Tests:  See A17.1, 8.6.4.20 for Traction elevators, 8.6.5.16 for Hydraulic Elevators, 8.6.6 for Rack & Pinion, Screw and Hand elevators and 8.6.7 for Special Application Elevators.  See SPS 318.17086(10)(b) for Part V or Residential elevators in commercial buildings.  See A18.1, 10.3.3 for Vertical and Inclined Platform Lifts and Stairway Chairlifts.

Also refer to the code in effect when the conveyance or applicable components were installed and unique manufacturer's procedures as addressed in ASME A17.1, 8.6.1.2.1(f) and 8.6.1.2.2(b), and ASME A17.2.

| These results are for the elevator, dumbwaiter or Type B material lift car, platform lift or stairway chairlift safety or counterweight safety |
| --- |
| Safety Device (1) | Governor (if so equipped) |
| Manufacturer | Model / ID Number | Conventional Integral with safety device None |
| Type A: B, flex guide clamp: B, wedge clamp: C: | Manufacturer | Model / ID Number |
| Guide rails: Steel (full-load or alternative method) Wood (no load) | Fly-ball centrifugal Non-flyball centrifugal Friction |
| Was test made with rated load? Yes No | Rope Mat'l Manila Iron Steel 6 x 19 8 x 19 |
| If no, explain: | Overspeed switch present? | Yes No n/a |
| Stopping distance (in.) | Car out of level (in.) | Overspeed switch trip speed adjusted? | Yes No n/a |
| If wood, replacement of wood rail necessary after test? Yes No | Overspeed switch trip speed sealed? | Yes No n/a |
| Type A safety, tested by inertia? | Yes No n/a | Overspeed switch trip speed (fpm): |
| Type A safety, tested for slack susp operation? | Yes No n/a | Gov.trip spd. adjusted: Yes No | Gov. trip spd.(fpm): |
| Type B drum-operated wedge clamp safety: No. of turns on drum before test: No. of turns after test: | Gov.trip spd. sealed: Yes No | Gov. rope size:(in/mm) |
|  | Gov. rope pull-thru (lbs): | Gov. pull-out force (lbs): |
| Was test satisfactory: Yes No | If no, explain: |
| For A17.1 conveyances, Alternative Test Methods meeting A17.1, 8.6.11.10, approved by the department and addressed in SPS 318.17086 (5)(c) & (12) may be used. If an alternative test method is used, attach the results. |
| Tester Information |
| Contractor Name (or Owner if performed by a licensed employee) | Individual Name |  |
| Address |  | License Number |  | Expiration Date |  |
| City |  | State |  | ZIP |  | Signature |

# Personnel and Documentation:  See A17.1, 8.6.1.4.1, 8.6.1.7.2, SPS 318.17086 (2)(g), (4), (5), (8) and (10)(a), SPS 170810(3), SPS 318.170811(1) – (4) and A18.1, 11.2.  Elevator test records and other required documentation are not to be accessed only via an elevator car top.  If records are kept there, an identical set must be accessible on a building floor level.