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	STATE OF WISCONSIN

Department of Safety and Professional Services

Elevator Safety Program

141 NW Barstow Street, 4th Floor.

Waukesha WI  53188
	


Dumbwaiter and Type B Material Lift New (Acceptance) Inspection Checklist

This completed checklist (meeting A17.1, 8.10.1.1.5) and applicable test reports are to be included with the acceptance test records required by A17.1, 8.6.1.4.1(d) and are to be permanently available and located as required by SPS 318.17086(2).
	Date: 
	eSLA PTO no:
	Project Description:

	Inspector Name: 
	WI license no:
	Exp. Date:  
	(also QEI certified)
A17.1, 8.10.1.1.5

	Elev. Contractor Name:
	
	
	[Stat. 101.984(2),
SPS 305.993-999]

	Elevator or Lift Mech. Name:
	WI license no:
	Exp. Date:
	[Stat. 101.984(1), 
SPS 305.9905]

	Permit application form, approved plans and conditional approval letter visible upon arrival       FORMCHECKBOX 

Application form, plans and conditional approval letter checked for unique conditions                FORMCHECKBOX 

	
	[Stat. 101.983(1)(b) 

and (2)(d), and 

SPS 318.1008(4)]

	Rated load (lbs)
	Rated speed up (actual, fpm)
	Rated / Oper speed down (actual, fpm)


	SUBJECT
	STATUS
	CODE
	SUBJECT
	STATUS
	CODE

	
	P
	F
	NA
	
	
	P
	F
	NA
	

	Dumbwaiter
	
	
	
	
	Type B Material Lift
	
	
	
	

	Door to sill clearance
	
	
	
	7.1.11.4.2
	Use limitations
	
	
	
	7.4.2.2

	Sill to sill clearance
	
	
	
	7.1.5.1
	Hoistway enclosure construction
	
	
	
	7.4.3

	Car to counterweight clearance
	
	
	
	7.1.5.2
	Pit access
	
	
	
	7.4.6.2.1

	Occupiable spaces below hoistway
	
	
	
	7.1.6
	Minimum overhead clearance
	
	
	
	7.4.6.2.2

	Machine space light
	
	
	
	7.1.7
	Minimum car to hoistway clearance 
	
	
	
	7.4.7.1

	Car inside height <= 4 feet
	
	
	
	7.2.1.1.2
	Beveling of entrance headers/projections
	
	
	
	7.4.7.4

	No moving members past access opening
	
	
	
	7.2.1.2.12
	Terminal stopping devices
	
	
	
	7.6.7

	Signage required
	
	
	
	7.2.3.2
	Capacity and loading signs
	
	
	
	7.5.3

	Safety device actuation and testing
	
	
	
	7.2.4.4
	Operating devise and control eq
	
	
	
	7.6.8.1

	Drum to rope diameter 30:1 
	
	
	
	7.2.10.1.2
	Anti-creep leveling – hydro
	
	
	
	7.6.8.3

	Operation automatic or continuous pressure
	
	
	
	7.2.12
	Low oil protection – hydro
	
	
	
	7.6.8.5

	
	
	
	
	
	
	
	
	
	

	Misc Tags & Plates, no Sharpie
	
	
	
	2.16.3.3
	Misc Tags & Plates, no Sharpie
	
	
	
	2.16.3.3

	Code data plate, also see 8.10.3.2.2(dd)
	
	
	
	8.9.1
	Code data plate, also see 8.10.3.2.2(dd)
	
	
	
	8.9.1

	Crosshead data plate, also see 8.10.2.2.1(p), 8.10.2.2.3(k), 8.10.3.2.3(h)
	
	
	
	7.2.3.3.1, 7.3.3
	Crosshead data plate, also see 8.10.2.2.1(p), 8.10.2.2.3(k), 8.10.3.2.3(h)
	
	
	
	7.5.6.2

	Acceptance test tag
	
	
	
	8.10.1.1.4
	Acceptance test tag
	
	
	
	8.10.1.1.4

	Safety devices, also see 8.10.2.2.2(ii)(1)(f), 8.10.2.2.3(n), 8.10.2.2.5(j)(2)
	
	
	
	7.2.4.7,7.3.4, 2.17.14, 318.1702(8)
	Safety devices, also see 8.10.2.2.2(ii)(1)(f), 8.10.2.2.3(n), 8.10.2.2.5(j)(2)
	
	
	
	7.5.4, 2.17.14, 

318.1702(8)

	Governor, also see 8.10.2.2.2(hh)(4)
	
	
	
	7.2.5, 7.3.5, 2.18.9, 318.1702(9)
	Governor, also see 8.10.2.2.2(hh)(4)
	
	
	
	7.5.5, 2.18.9, 318.1702(9)

	Governor rope tag, also see 8.10.2.2.3(z)
	
	
	
	7.2.5, 2.18.5.3, 
	Governor rope tag, also see 8.10.2.2.3(z)
	
	
	
	7.5.5, 2.18.5.3, 

	Buffers, also see 8.10.2.2.5(c)
	
	
	
	7.2.8
	Buffers, also see 8.10.2.2.5(c)
	
	
	
	7.5.8

	Rope Data
	
	
	
	7.2.6.2, 7.3.6
	Rope Data
	
	
	
	7.5.6.

	Chain Data
	
	
	
	7.2.6.3, 7.3.6
	Chain Data
	
	
	
	7.5.6.2

	
	
	
	
	
	
	
	
	
	

	Electrical, both DW and ML
	
	
	
	
	
	
	
	
	

	     Main disconnect Type
	
	
	
	NEC 620.51
	
	
	
	
	

	     Electrical working clearance
	
	
	
	NEC 110.26
	
	
	
	
	

	Controller electrical working clearance
	
	
	
	NEC 110.26
	
	
	
	
	

	Clearances to service equip
	
	
	
	7.1.7.3
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	

	Documentation (w/instructions to locate if no mach. rm.)
	Documentation by Inspector applied to disc. or contrlr

	Maintenance Control Program
	
	
	
	318.17086(2)
	Green object ID no. tag applied
	
	
	
	

	Maintenance records
	
	
	
	318.17086(2)
	Accident reporting tag applied
	
	
	
	

	Wiring diagrams
	
	
	
	318.17086(2)
	
	
	
	
	

	Acceptance test reports and this checklist
	
	
	
	8.6.1.4.1(d)
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