BUILDINGS AND HVAC COMPLIANCE STATEMENT
This form is required to be submitted by the supervising professional (architect, engineer, HVAC designer, or electrical designer) observing construction of projects within buildings with total volume of 50,000 cubic feet or greater and bleachers (SPS 361.40). Failure to submit this form may result in penalties as specified in SPS 361.23 and/or local ordinances. This form must be submitted prior to the plan approval expiration date or another submittal may be required.
General Instructions: Prior to the initial occupancy of new buildings or additions and the final occupancy of altered existing buildings, submit this completed and signed form to the municipal building inspection office (refer to the plan approval letter for agency address), and Division of Industry Services. (If the review was done by the municipality, the compliance statement goes only to the municipal building inspector and a copy is not needed for Division of Industry Services.)
1. PROJECT INFORMATION: Fill in the following with information from your plan approval letter 
Transaction ID Number 	  Project Name 	
Site ID Number  	  DIS/CB #:  	
Site location (number & street) 	
  City	  Village	  Town of 	  County of  	
2. PURPOSE OF THIS STATEMENT: Check Box A, B, C, or D to indicate purpose and complete any other applicable boxes and information. Attach additional pages if necessary.
 Building	 HVAC 
 Partial Completion. Describe:  	
A)  Statement of Substantial Compliance
To the best of my knowledge, belief, and based on onsite observation, construction of the following building and/or HVAC items applicable to this project have been completed in substantial compliance with the approved plans and specifications.
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 Building/Lighting Items
1. Structural system including submittal and erection of all building components (trusses, precast, metal building, etc.)
2. Fire protection systems (sprinklers, alarms, smoke detectors) designed, installed, and tested (including forward flow on back flow devices) by appropriately registered professionals
3. Shaft and stairway enclosure
4. Exits including exit and directional lights
5. Fire-resistive construction, enclosure of hazards, fire walls, labeled doors, class of construction, fire stopped penetrations
6. Sanitation system (toilets, sinks, drinking facilities)
7. Barrier-free including SPS 318 elevators and lifts
8. Energy envelope requirements
9. All conditions of building plan approval and applicable variances
10. Exterior lighting and control requirements
11. Interior lighting and control requirements
12. All conditions of lighting plan approval and applicable variances
 HVAC Items
1. HVAC system including final test
2. All conditions of HVAC plan approval and applicable variances
 Special Inspections


The following items are not in compliance and must be addressed:  	
B)  Statement of Non-Compliance
Due to the following listed violations, this project is not ready for occupancy:  	
C)  Supervising Professional Withdrawn From Project. Use A or B above to indicate project status as of this date.
D)  Project Abandoned.
3. SUPERVISING PROFESSIONAL SIGNATURE FOR: Check those which apply.
 Building	 HVAC	Name (print or type):  		Date:  	
Phone Number:  		Signature  	
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